## Table 2
Technology Readiness level - pharma, medical devices, diagnostics
(source: McGowran, Eamonn and Harris, Elaine (2020) "Regulatory Readiness Level: a Tool to Enhance Early Regulatory Adoption in Academic Discovery," Level 3: Vol. 15: Iss. 2, Article 6. doi:https://doi.org/10.21427/qp14-dy42 )
Stage | Technology Readiness level | Life Sciences (pharma, medical devices, digital health) | Medical Devices including diagnostic devices | In vitro Diagnostic Kits & reagents | Biomedical implants | Pharma
Ideation | TRL 1 | Basic principles and research data observed and reported. Scientific research findings reviewed and assessed and translation into applied research begun. Potential targets, mechanisms, concepts evaluation. | Need identified, Basic principles observed and reported (Scientific research begins which can be translated into applied research and development) | Need identified, Basic Need identified, Basic principles observed and reported (Scientific research begins which can be translated into applied research and development) | Need identified, Basic principles observed and reported (Scientific research begins which can be translated into applied research and development) | Scientific findings reviewed characterizing new technologies.
Proof of Principle / Technology concept and/or application formulated | TRL 2 | Technology concept and/or application formulated. Research ideas, hypothesis, experimental designs, potential targets, technologies, solutions (also digital), protocols identified and developed, peer reviewed and approved. | Market surveillance data and competitor analysis available to support the idea. Basic device design ready and product specifications defined based on the competitor analysis and patent landscaping. FTO ensured. Development of individual components initiated. | Hypothesis formulated and protocols developed. Market surveillance data and competitor analysis available to support idea. Individual core components of kit/reagents (Antibodies/ Antigens/Aptamers/Nano particles) finalized, developed/procured for testing | Market surveillance data and competitor analysis available to support the idea. Basic implant design ready, candidate materials shortlisted and product specifications defined based on the competitor analysis and patent landscaping. FTO ensured | •Generate research ideas “paper studies” • Developing research plans • Hypothesis are formed & identify candidate concepts &/or therapeutic drugs
Proof of Concept demonstrated | TRL 3 | Active R&D, data collection and analysis initiated. First hypothesis testing, target identification, potential candidates characterization, data collection, technological components (also digital) evaluation, alternative concepts exploration carried out. Early proof of concept (PoC)/system application tested in laboratory environment, in a limited number of in vitro & in vivo models. | Individual modules/Components/PCBs/Software s/Systems developed and tested separately for its functionality on a breadboard/laboratory level. Material safety, electrical safety & biocompatibility of the systems demonstrated | Individual core components optimized at lab scale. Demonstrated the limit of detection/Sensitivity with metabolite serial dilution or ELISA or spiked biological sample studies. | Material research completed and material properties of the finalized material/composites compared against benchmarks. Relevant ASTM standard tests (strength, ductility, corrosion, surface properties, antimicrobial activity, usability, shelf life etc.) on the material performed successfully. Material sterilization method finalized. Biocompatibility (ISO 10993) proven in in vitro cytotoxicity assays. | •Test hypothesis -evaluate technologies supporting drug development. • Initial synthesis of candidates, limited in-vitro and in-vivo research models - initial proof of concept. • MOA & characterization of hits in preclinical studies
Proof of concept established | TRL 4 | Preclinical R&D. PoC, safety of potential candidates, device or system demonstrated in a relevant laboratory or animal model (non-GxP). Formulation and manufacturing process development initiated (non-GMP). Identification of relevant parametric data required for technological assessment. System components integrated and tested regarding preliminary efficiency and reliability. Software architecture and other system components development to address reliability, scalability, operability, security etc. Other system components development. | Functional Prototype developed by integration of different modules and safety, efficacy and performance of candidate device or system demonstrated in a defined laboratory, Simulated Environment or animal model (with Institutional Animal Ethics Committee approvals) | Optimized core components integrated into the kit or platform (Microfluidics/ filter paper/ LFA etc) along with the reagents to come up with a functional prototype of the kit. Integrated system tested in house with metabolite serial dilution or ELISA or spiked biological sample studies. | Material safety and or imaging compatibility proven in in vivo small animal model study (with Institutional Animal Ethics Committee approvals). Functional Prototype implant device developed as per the design in a near GMP condition. Sterilization and packaging established. | •Demonstrate proof-of-concept & safety of candidate drug formulations • Preclinical studies (animal models) to assess potential safety & toxicity problems, adverse events, & side effects. • Exploratory studies of hits/leads to set: formulation; routes of administration; method of synthesis; physical & chemical properties; metabolic fate & excretion/elimination; and dose ranging
Early stage validation | TRL 5 | Technology validated in relevant environment. Pre-clinical studies, including GLP animal safety & toxicity, ADME data collectionsufficient to support submission ofthe selected candidate to phase 1. GMP manufacturing process and quality controls identified. Validation of system components/architectures and processes in relevant laboratory/operational environment. Classification of device/system by appropriate regulatory body established. Verification, validation and accreditation when appropriate initiated. | Relevant IEC & ISO tests (Electromagenetic interference, Electromagnetic compatibility, Electrical safety, Biocompatibility, software test, radiation safety test drop test, packaging test, transportation test, physico –chemical and mechanical testing etc.) of the device performed and safety proven. Quality management certification (ISO13485) in place. Design iterated prototype ready to go for clinical validation. Clinical study plan approved by Institutional Ethical Committee and/or CDSCO | Integrated system tested in-house extensively with clinical samples (Blood, Urine, Sputum etc.) before taking it for clinical validation. Analytical validation of the kit completed. Shelf life, stability data of the kit reagents available. Quality management certification (ISO13485) in place Clinical study plan approved by Institutional Ethical Committee and/or CDSCO | In vivo pre-clinical studies performed (with Institutional Animal Ethics Committee approvals) using functional prototype implant device on the relevant small or big animal (disease) models to establish its safety (tissue reactivity/ allergy/degradability, Histopathology) and efficacy (. Quality management certification (ISO13485) in place. Design iterated prototype ready to go for clinical validation. Clinical study plan approved by Institutional Ethical Committee and/or CDSCO | •Non-clinical & pre-clinical research studies • Parametric data collection and analysis in well-defined systems. • Pilot lots drug candidate are produced for further development & provide the basis for a manufacturing process tranferrable to cGMP-compliant pilot lot production. • GLP safety & toxicity studies to evaluate PK/PD of candidate drugs. • Data package compiled of animal pharmacology & toxicology studies, proposed manufacturing information, and clinical protocols for Phase 1 clinical testing
| TRL 6 | Technology demonstrated in relevant environment. Clinical development; phase 1 clinical trials evaluation proceeding to phase 2. Medical device/digital system prototype demonstrated in operational enviroment. Clinical testing and safety demonstrated and in line with predictions. Digital system components releases are “beta” versions and configuration controlled. Required accreditation in progress. | Fully functional clinical grade device ready with regulatory dossier for use on human subjects/patients. Quality assurance certification (like CE) applied. Pilot clinical study/trials on limited number of subjects/patients to prove safety and substantial equivalence/efficacy. Data submitted to CDSCO for Pivotal study approval | Clinical study performed on statistically significant number of samples at one or two centres to define the specificity and sensitivity of the Assay/kit. Quality assurance certification for the product applied/obtained | Clinical level implant device fabricated using clinical grade material in GMP facility with safety dossier for use on human subjects/patients. .Quality assurance certification (like CE) applied. Pilot clinical trials performed on statistically significant number of patients against the predicate implant device to prove safety, substantial equivalence/efficacy. Data submitted to CDSCO for Pivotal study approval. | • Phase 1 trial application submitted and approved • Phase 1 Clinicla Trial (CT) conducted • Production technologies demonstrated through production-scale cGMP plant qualification. • PK & PD data to meet clinical safety requirements generated to support design of Phase 2 CT l
Late stage Validation | TRL 7 | System prototype demonstration in operational environment. Phase 2 clinical trial completed. Phase 3 clinical trial plan defined and approved. Medical device/digital system final product design is validated and final prototypes intended for commercial use produced and tested. When appropriate, verification and validation for accreditation completed. | Manufacturing lines established. Design for manufacture (DFM) finalised and devices manufactured. Documentation on design history file (DHF) ready. Pivotal clinical study/trials completed and clinical performance data submitted to CDSCO for manufacturing license | Multi-Centric Trials completed at NABL accredited centres and performance evaluation report submitted to CDSCO for Commercial license. Performance evaluation report of notified products (IVD for HIV, HCV, HBV and Blood grouping sera) obtained from NIB, Noida. | Manufacturing lines established. Design for manufacture (DFM) finalised and devices manufactured. Documentation on design history file (DHF) ready.Pivotal clinical study/trials completed and clinical performance data submitted to CDSCO for manufacturing license | • Phase 2 CT conducted (initial efficacy & further safety, toxicity & immunogenicity data. • Product final dose, dose range, schedule, & route of administration established. • End of Phase 2 CT • Pre-Phase 3 meeting with agencies to discuss results of Phase /Phase 2 & clinical endpoints and/or surrogate efficacy markers & test plans. • Phase 3 CT or surrogate test plan prepared • Application, & clinical protocol to support Phase 3 CT trials or surrogate test plan submitted
Precommercialization | TRL 8 | System complete and qualified. Manufacturing processes validated. Phase 3 clinical trial completed and licencing/authorisation given. Pre-market application submitted and approved for medical device. Digital system development completed and demonstrated in real life conditions, support structure in place to resolve technical issues. | Manufacturing license obtained from CDSCO and commercial batch manufacturing initiated | Manufacturing license obtained and commercial scale manufacturing set up/Packing/labelling etc. Commercial batch manufacturing initiated | Manufacturing license obtained from CDSCO and commercial batch manufacturing initiated | • Safety & effectiveness in Phase 3 CT or surrogate tests. • Evaluate overall risk-benefit of administering candidate product & provide basis for drug labelling. • Process validation completed, followed by lot consistency and reproducibility studies. • Dossier prepared & submitted to agency
Commercial ization and post market studies | TRL 9 | Product launched/ready for launch. Post marketingstudiesand surveillance in place. | Commercial launch of the new device, Post marketing studies and surveillance | Commercial launch of in vitro diagnostic kit or reagents and Post marketing studies and surveillance | Commercial launch of the implant, Post marketing studies and surveillance | • Approval Received • Product launch and monitoring in the market.